## Slide 1
Pepperl+Fuchs – COMTROL Inc.
Application and
Product Training

## Slide 2: Goto www.comtrol.com

## Slide 3: Choose DeviceMaster/DM/PRO/RTS Portvision DX

## Slide 4: Downloads

## Slide 5: Download Portvision DX V4.11

## Slide 6: Run Wizard

## Slide 7: Accept User Agreement

## Slide 8: Install Portvision

## Slide 9: Continue Install until completed

## Slide 10: Finished Install

## Slide 11: Pull up Portvison DX

## Slide 12: Hit Scan- Choose DeviceMaster and Scan

## Slide 13: Discover DeviceMaster

## Slide 14: Change Network Settings if needed for PC

## Slide 15: Start- Control Panel

## Slide 16: Select Network and Internet

## Slide 17: Choose View Network Status and Tasks

## Slide 18: Change Adapter Settings on Left

## Slide 19: Choose Network Card

## Slide 20: Choose Properties

## Slide 21: Choose TCP/IPv4

## Slide 22: Choose Properties

## Slide 23: Network windows come up- Note original settings

## Slide 24: Change Network setting to Static IP (Last octet unique)

## Slide 25: Open Command Prompt

## Slide 26: Ping DeviceMaster IP Address (192.168.250.X)

## Slide 27: Ping Successful

## Slide 28: Pull portvision up- Double Device – Set IP for DM

## Slide 29: Set Octet to unique address (1-250)

## Slide 30: Scan Network Again- Check DM

## Slide 31: DM Found

## Slide 32: Changing DM Firmware process
www.comtrol.com
Support
Driver/downloads
Choose Product type (DM/RTS/PRO/Serial hub)
Choose Firmware

## Slide 33: Firmware update- www.comtrol.com , Support, Drivers and Downloads

## Slide 34: Choose Upload

## Slide 35: Choose Socketserver file

## Slide 36: Upload Complete- Status should be online. Verify Software Version

## Slide 37: open Webpage type IP address (192.168.250.X)

## Slide 38: TCP Connection Enable Check- Set Serial Device

## Slide 39: Testing Setup
Loopback Plug attached
Run Putty from Portvision or Putty.org

## Slide 40: In portvision – Tools – Applications- Putty

## Slide 41: Type Test Data- Should be double Characters

## Slide 42: Open Webpage- Diagnostics, Port Monitor, Successful Data Exchage (TX-RX)

## Slide 43: Save Successful file- Portvision, Save, Name.DC

## Slide 44
Dennis Christensen
Email: dennis.christensen@comtrol.com